## Station_Metadata
GEMS Station Number | Historical GEMS Number | Local Station Number | Country Name | Water Type | Station Identifier | Station Narrative | Water Body Name | Main Basin | Upstream Basin Area | Elevation | Monitoring Type | Date Station Opened | Responsible Collection Agency | Latitude | Longitude | River Width | Discharge | Max. Depth | Lake Area | Lake Volume | Average Retention | Area of Aquifer | Depth of Impermeable Lining | Production Zone | Mean Abstraction Rate | Mean Abstraction Level
BGD00008 | 136008 |  | Bangladesh | Groundwater station | Tube Well - Muladi Barisal | Tube Well water from Muladi Barisal |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 1979-07-01 | Department of Environment | 22.8417 | 90.1694 | [6 empty] | 120 | 20 | 40 | 7500 | 100

## Parameter_Metadata
Parameter Code | Parameter Name | Parameter Long Name | Parameter Group | EC Number | CAS Number | ChEBI Number | Parameter Description
BOD | Oxygen Demand | Biochemical Oxygen Demand | /Chemical/Oxygen Demand |  |  |  | A measure of oxygen consumption during decomposition of both organic and inorganic substances.
O2-Dis | Oxygen | Dissolved Oxygen | /Chemical/Inorganic/Dissolved Gas | 231-956-9 | 7782-44-7 | 15379 | Concentration of molecular oxygen dissolved in water.
pH | pH | pH | /Chemical/Inorganic/Bulk Property |  |  |  | The negative logarithm of the hydrogen ion concentration, a measure of acidity or alkalinity of water soluble substances.
TEMP | Temperature | Water Temperature | /Physical/Temperature |  |  |  | Ambient temperature of the water.

## Methods_Metadata
Parameter Code | Analysis Method Code | Unit | Parameter Long Name | Method Name | Method Type | Method Number | Method Source | Method Description
BOD | BOD-ATU | mg/l | Biochemical Oxygen Demand | 5-Day BOD Test with Allylthiourea | --- | SM 507 | APHA 1976 | Dilute the sample, as needed before incubation, adding nutrients such as nitrogen, phosphorus and trace metals. Buffer the solution to ensure that the sample remains in a pH range suitable for bacterial growth (usually pH 6.5 to 7.5). Incubate at 20°C for five days. Results are reported as carbonaceous biochemical oxygen demand (CBOD5) when inhibiting the nitrogenous oxygen demand. When nitrification is not inhibited, results are reported as BOD5.
BOD | BOD-ISE | mg/l | Biochemical Oxygen Demand | 5-Day BOD Test using Membrane Electrode | Electrochemical Analysis | 5210 B;4500-O G | APHA 2012 | BOD is a measure of the oxygen demand produce by carbonaceous and nitrogenous materials in a sample. It is measured by determining the decrease of oxygen content, using a dissolved oxygen meter, after incubation at 20°C for five days.~r~n A sample is preserved in the field at 4°C and the analysis started within four hours. The sample aliquot is incubated, at 20°C for five days under proper conditions. The procedure depends on the nature of the sample. After aeration of the samples to bring the dissolved oxygen content to saturation, one of the following three variations can be used, depending on the type of samples to be analysed:~r~n 1 - The direct method: If the BOD does not exceed 7 mg/L, then the BOD is determined directly by measuring the dissolved oxygen content of the water, before and after a five days incubation period at 20°C.~r~n 2 - Unseeded dilution method: For waters having BOD values greater than 7 mg/L: appropriate sample aliquots are diluted using dilution water, saturated with oxygen, and the oxygen content is determined before and after the incubation period. A minimum of three dilutions per sample, with a final content between 40% and 70% of the original oxygen concentration, will give best results.~r~n 3 - Seeded dilution method: It is extremely important that the conditions be appropriate for the living organisms to function unhindered during the incubation period. Toxic substances should be absent, and necessary nutrients, such as nitrogen and phosphorus, should be present. It is important that a mixed group of organisms (called "seed") should be present during the test. The dilution water is seeded with the proper kind and number of organisms and saturated with oxygen (overnight) before the BOD test.~r~n Siphon the diluted sample to fill three BOD bottles; one for incubation (five days), one for the determination of the dissolved oxygen content (measured and record as "initial DO") and the other for the determination of the immediate dissolved oxygen demand (IDOD), after a 15 minutes incubation period. A minimum of three dilutions per sample, with a final content between 40% and 70% of the original oxygen concentration, will give best results.~r~n Use a calibrated oxygen meter to measure the oxygen concentrations before and after incubation.~r~n Interference: Many synthetic organic components from industrial wastewaters are not biodegradable without adding seeding water due to the toxic effect or the absence or deficiency of appropriate microorganisms. Sample containing residual Cl2, that is acidic or alkaline, must be neutralized to pH=7, and sometimes titrated with a Na2S2O3 solution to liberate the chloride from solution. A sample, containing sulphide, sulphite and/or ferrous ions, creates an immediate demand, corrected by the IDOD.~r~n The method detection limit is 1 mg/L.
BOD | BOD-RESP | mg/l | Biochemical Oxygen Demand | Respirometric Method | Volumetry | 5210 D | APHA 2012 | Respirometric methods provide direct measurement of the oxygen consumed by microorganisms from an air or oxygen-enriched environment in a closed vessel under conditions of constant temperature and agitation.~r~n~r~nIf sample contains large settleable or floatable solids, homogenize it with a blender and transfer representative test portions while all solids are in suspension. If there is a concern for changing sample characteristics, skip this~r~nstep.~r~n~r~nNeutralize samples to pH 7.0 with H2SO4 or NaOH of such strength that reagent quantity does not dilute the sample more than 0.5%.~r~n~r~nIf samples contain dissolved oxygen concentrations above or below the desired concentration, agitate or aerate with clean and filtered compressed air for about 1h immediately before testing. Minimum and maximum actual DO concentrations will vary with test objectives. In some cases pure oxygen may be added to respirometer vessels to increase oxygen levels above ambient.~r~n~r~nBring samples and dilution water to desired test temperature (+/- 1°C) before making dilutions or transferring to test vessels.~r~n~r~nSee 5210B.4d for seed preparation. Use sufficient amounts of seed culture to prevent major lags in the oxygen uptake reaction but not so much that the oxygen uptake of the seed exceeds about 10% of the oxygen uptake of the seeded sample. Determine the oxygen uptake of the seeding material as for any other sample. This is the seed control. Typically, the seed volume in the seed control should be 10 times the volume used in seeded samples.~r~n~r~nIncubate samples at 20°C or other suitable temperature +/- 1.0°C. Take care that the stirring device does not increase the temperature of the sample.
BOD | BOD-T-COL-AZD | mg/l | Biochemical Oxygen Demand | 5-Day BOD Test using Acide Modification | Titration | 5210 B;4500-O C | APHA 2012 | Biochemical Oxygen Demand is defined as the quantity of oxygen necessary for biological and chemical oxidation of water-borne substances under conditions of the test. A sample is preserved in the field at 4°C and the analysis started within 4 hours. A sample is incubated at 20°C under proper conditions. Comparison of the dissolved oxygen content at the beginning and the end of the incubation period is the measure of the Biochemical Oxygen Demand. The procedure depends on the nature of the sample. After aeration of the samples to bring the dissolved oxygen content to saturation, one of the following three variations can be used, depending on the type of samples to be analysed:~r~n A - The direct method: If the BOD does not exceed 7 mg/L, the BOD is determined directly by measuring the dissolved content of the water sample before and after a five days incubation period at 20°C.~r~n B - Unseeded dilution method: With waters having BOD values greater than 7 mg/L, appropriate sample aliquots are diluted using dilution water, saturated with oxygen, and the oxygen content is determined before and after the incubation period. A minimum of three dilutions per sample, with a final content between 40% and 70% of the original oxygen concentration, will give best results.~r~n C - Seeded dilution method: It is extremely important that the conditions be appropriate for the living organisms to function unhindered during the incubation period. Toxic substances should be absent, and necessary nutrients, such as nitrogen and phosphorus, should be present. It is important that a mixed group of organisms (called "seed") be present during the test. The dilution water is seeded with the proper kind and number of organisms and saturated with oxygen (overnight) before the BOD test.~r~n Siphon the diluted sample to fill three BOD bottles; one for incubation (five days), one for the determination of the dissolved oxygen content (measured and record as "initial DO"), and the other for the determination of the immediate dissolved oxygen demand (IDOD), after a 15 minutes incubation period (to eliminate the oxygen demand from sulphide, sulphite and/or ferrous ions). A minimum of three dilutions per sample, with a final content between 40% and 70% of the original oxygen concentration, will give best results.~r~n DO Winkler method:~r~n A sample is treated with manganous sulphate (MnSO4) and a strong alkaline iodide reagent (NaN3, NaI and NaOH). The manganous hydroxide reacts with the dissolved oxygen to form a brown precipitate (MnO(OH)2. Let stand for one hour. Upon acidification, with concentrated H2SO4, in the presence of iodide, the iodine liberated is equivalent to the dissolved oxygen originally present in the sample. The iodide is titrated with a standardized sodium thiosulphate (Na2S2O3), using starch as an indicator.~r~n Interference: Many synthetic organic components from industrial wastewaters are not biodegradable without adding seeding water. Sample containing residual Cl2, that is acidic or alkaline, must be neutralized to pH=7 and titrated with Na2S2O3 solution. The IDOD is determined to eliminate the oxygen demand of sulphide, sulphite and/or ferrous ions.~r~n The method detection limit is 0.01 mg/L.~r~n NOTE: India uses 27° and 3 days because of geoclimatic conditions.
O2-Dis | O2-CALC-Con | mg/l | Dissolved Oxygen | Concentration calculated from Oxygen Saturation | Calculation |  |  | Calculated from % Oxygen Saturation, H2O temperature, and pressure at site.
O2-Dis | O2-D888-C | mg/l | Dissolved Oxygen | Dissolved Oxygen in Water - Instrumental Probe Procedure - Luminescence-Based Sensor | Spectroscopy | D888 C | ASTM 2012
O2-Dis | O2-ISE | mg/l | Dissolved Oxygen | Membrane Electrode Method | Electrochemical Analysis | SM 4500-O G | APHA 2012 | Measurements are made in the field using a calibrated dissolved oxygen meter. The electronic cell, containing a gold cathode and a silver anode, is covered with an Oxygen permeable membrane to prevent interferences. Upon entering the cell, the Oxygen is reduced and the current is directly proportional to the oxygen concentration at a specific temperature. The DO ranges are usually automatically temperature corrected (between -50C and + 40°C), as are the solubility and permeability of the probe, while salinity usually needs manual compensation. Regular calibration against the Winkler Titration Method is recommended or by exactly following the manufacturer's procedure. (DO meter is calibrated in air saturated with moisture and the reading is taken when steady condition is obtained).
O2-Dis | O2-T-COL-MILLER | mg/l | Dissolved Oxygen | Miller Modification Method | Titration | JIS K 0102 32.2 | JSA 1998 | Seclude Samples from air by means of liquid paraffin, add potassium sodium tartrate-sodium hydroxide solution and 3,7-bis(dimethylamino)-phenothiazin-5-ium chloride (methylene blue), titrate it with ammonium iron (II) sulfate solution to determine dissolved oxygen.
O2-Dis | T-COL-I-AZD | mg/l | Dissolved Oxygen | Iodometric Method with Azide Modification | Titration | SM 4500-O C | APHA 2012 | A sample is collected and analysed in the field or preserved at 4°C and analysed as soon as possible. A sample aliquot is treated with manganous sulphate (MnSO4) and a strong alkaline iodide reagent (NaN3, NaI and NaOH). The manganous hydroxide formed reacts with the dissolved oxygen to form a brown precipitate (MnO(OH)2 (a KF solution is added if ferrous ions are present). Upon acidification, in the presence of iodide, the iodine liberated is equivalent to the dissolved oxygen originally present in the sample. The iodide is titrated with a standardized sodium thiosulphate solution (Na2S2O3), starch is used as an indicator.~r~n Interferences: ferrous ion at 1 mg/L (if KF is added the interference level for ferrous ion is 100-200 mg/L), SO3 ion, S2O3 ion, polythionate ions, free Cl2, OCl ion, oxidizing and reducing agents, and turbidity.
pH | pH-COL | --- | pH | Colourimetric Method | Colorimetry | VI-1 9.3 | JWWA 2001 | The pH is measured adding an universal indicator (phenolphthalein/methyl red/thymol blue) or using a pH "non bleeding" strip, wait for colour development and compare the colour of the reaction to the coloured chart of the appropriate indicator used. Interference: colour, turbidity, salinity, colloidal matter and various oxidants and reductants can interfere with the indicator.
pH | pH-POT | --- | pH | Electrometric Method | Electrochemical Analysis | SM 4500-H+ B | APHA 2012 | The pH meter, with a glass combination electrode and automatic temperature compensation probe, is calibrated with buffers at pH 4.7 and 10 at 25°C. The pH and temperature values of the sample aliquot are recorded upon reading. The precision is within 0.1 pH units.
pH | pH-POT-insitu | --- | pH | Electrometric Method (in situ) | Electrochemical Analysis | SM 4500-H+ B | APHA 2012 | ph Meter, (field measurement)
pH | pH-POT-25 | --- | pH | Electrometric Method (25°C) | Electrochemical Analysis | ISO 10527 | ISO 1996 | The temperature of a sample is stabilised at 25°C. A calibrated glass electrode in combination with a reference potential, provided by a saturated calomel (Hg2Cl2) electrode, is used for pH determination. The sample aliquot is read at 25°C.~r~n~r~nThe precision is within 0.1 pH units.
TEMP | TEMP-BTG | °C | Water Temperature | Electronic Bathythermograph | --- | STAR 104 | Environment Canada 2007 | The electronic bathythermograph provides a direct instantaneous readout and graphical record of temperatures versus depth.
TEMP | TEMP-CND | °C | Water Temperature | Conductivity-Temperature Meter | --- | ENV 42 | Environment Canada 2007 | Water temperature is measured with a battery-operated conductivity-temperature meter calibrated by switching to an internal standard. The accuracy is ±0.5 °C.
TEMP | TEMP-DIG | °C | Water Temperature | Digital Thermometer | --- | SM 2550 B | APHA 1998 | Ambient temperature is measured with a calibrated digital thermometer in the shade, free from the influences of direct or reflected solar radiation. To reduce the error due to evaporative cooling, a dry thermometer should be used. Water temperature is measured by immersing a calibrated digital thermometer into the water sample immediately after collection.~r~n Method precision is ±0.1 °C.
TEMP | TEMP-Hg | °C | Water Temperature | Mercury Thermometer | --- | SM 2550 B | APHA 1998 | Both atmospheric and water temperature are measured upon sample collection.~r~n The atmospheric temperature is measured in a well-ventilated area and in the shade, at 1.2 to 1.5 m above the ground, using a 50°C calibrated (liquid in glass) thermometer.~r~n The water temperature is measured by immersing a calibrated thermometer into the water or by measuring the temperature immediately after collection using a calibrated thermometer.~r~n The Hg-filled thermometer has a precision of ± 0.1°C.
TEMP | TEMP-NCIR | °C | Water Temperature | Infrared (non-contact) | --- | MCode-THM03 | USGS 1998 | Air temperature, in addition to water temperature, should be measured and recorded whenever water-quality samples are collected. Water temperature must always be measured in situ and in a manner that ensures that the measurement accurately represents the intended sample conditions. Before measuring air or water temperature, inspect the liquid-in-glass thermometer to be certain that the liquid column has not separated. Inspect the glass bulb to be sure it is clean. Inspect the protective case to be sure it is free of sand and debris. Check that batteries are fully charged for thermistor thermometers or temperature sensors incorporated into other field meters.
TEMP | TEMP-ORT | °C | Water Temperature | Oceanographic Reversing Thermometer | --- | STAR 100 | Environment Canada 2007
TEMP | TEMP-pH | °C | Water Temperature | pH meter (in situ) | --- |  |  | Potentiometric or Electrochemical field measurement.
TEMP | TEMP-THERMISTOR | °C | Water Temperature | Thermistor | --- | EPA 170.1 | US-EPA 1974 | Water Temperature is measured with a battery-operated YSI thermistor (or equivalent) calibrated against a certified thermometer. Resolution is 0.1°C and accuracy is ±0.2 °C.~r~n The method range is -10 °C to +90 °C.