## Station_Metadata
GEMS Station Number | Historical GEMS Number | Local Station Number | Country Name | Water Type | Station Identifier | Station Narrative | Water Body Name | Main Basin | Upstream Basin Area | Elevation | Monitoring Type | Date Station Opened | Responsible Collection Agency | Latitude | Longitude | River Width | Discharge | Max. Depth | Lake Area | Lake Volume | Average Retention | Area of Aquifer | Depth of Impermeable Lining | Production Zone | Mean Abstraction Rate | Mean Abstraction Level
BGD00032 | 307023 |  | Bangladesh | Groundwater station | Tube Well 23 - Dakshin Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 820 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2494 | 90.78
BGD00033 | 307024 |  | Bangladesh | Groundwater station | Tube Well 24 - Dakshin Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2533 | 90.7808
BGD00031 | 307022 |  | Bangladesh | Groundwater station | Tube Well 22 - Dakshin Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2511 | 90.7883
BGD00036 | 307027 |  | Bangladesh | Groundwater station | Tube Well 27 - Dakshin Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 790 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.26 | 90.7703
BGD00037 | 307028 |  | Bangladesh | Groundwater station | Tube Well 28 - Dakshin Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 810 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2794 | 90.7672
BGD00034 | 307025 |  | Bangladesh | Groundwater station | Tube Well 25 - Dakshin Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 810 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2514 | 90.7717
BGD00035 | 307026 |  | Bangladesh | Groundwater station | Tube Well 26 - Dakshin Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 805 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2542 | 90.7633
BGD00079 | 307070 |  | Bangladesh | Groundwater station | Tube Well 70 - Paschim Barkul | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 770 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2206 | 90.8408
BGD00080 | 307071 |  | Bangladesh | Groundwater station | Tube Well 71 - Paschim Barkul | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 780 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2308 | 90.8303
BGD00040 | 307031 |  | Bangladesh | Groundwater station | Tube Well 31 - Dakshin Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2808 | 90.7831
BGD00073 | 307064 |  | Bangladesh | Groundwater station | Tube Well 64 - Hatila | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2678 | 90.8892
BGD00074 | 307065 |  | Bangladesh | Groundwater station | Tube Well 65 - Hatila | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 780 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2703 | 90.9014
BGD00038 | 307029 |  | Bangladesh | Groundwater station | Tube Well 29 - Dakshin Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2725 | 90.7772
BGD00071 | 307062 |  | Bangladesh | Groundwater station | Tube Well 62 - Hatila | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 760 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2547 | 90.8989
BGD00039 | 307030 |  | Bangladesh | Groundwater station | Tube Well 30 - Dakshin Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 805 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3128 | 90.7883
BGD00072 | 307063 |  | Bangladesh | Groundwater station | Tube Well 63 - Hatila | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 750 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2622 | 90.8956
BGD00077 | 307068 |  | Bangladesh | Groundwater station | Tube Well 68 - Paschim Barkul | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2156 | 90.8372
BGD00078 | 307069 |  | Bangladesh | Groundwater station | Tube Well 69 - Paschim Barkul | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 780 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2183 | 90.8375
BGD00075 | 307066 |  | Bangladesh | Groundwater station | Tube Well 66 - Hatila | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2719 | 90.91
BGD00076 | 307067 |  | Bangladesh | Groundwater station | Tube Well 67 - Hatila | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 780 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2789 | 90.9086
BGD00043 | 307034 |  | Bangladesh | Groundwater station | Tube Well 34 - Uttar Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 806 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2986 | 90.7864
BGD00044 | 307035 |  | Bangladesh | Groundwater station | Tube Well 35 - Uttar Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3017 | 90.7861
BGD00041 | 307032 |  | Bangladesh | Groundwater station | Tube Well 32 - Dakshin Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2828 | 90.7803
BGD00042 | 307033 |  | Bangladesh | Groundwater station | Tube Well 33 - Dakshin Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 808 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2922 | 90.7883
BGD00047 | 307038 |  | Bangladesh | Groundwater station | Tube Well 38 - Uttar Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 760 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3203 | 90.7911
BGD00048 | 307039 |  | Bangladesh | Groundwater station | Tube Well 39 - Uttar Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 810 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3211 | 90.7958
BGD00081 | 307072 |  | Bangladesh | Groundwater station | Tube Well 72 - Paurashawa | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 830 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2381 | 90.8253
BGD00045 | 307036 |  | Bangladesh | Groundwater station | Tube Well 36 - Uttar Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 810 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3106 | 90.7836
BGD00046 | 307037 |  | Bangladesh | Groundwater station | Tube Well 37 - Uttar Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3089 | 90.7892
BGD00090 | 307081 |  | Bangladesh | Groundwater station | Tube Well 81 - Uttar Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2906 | 90.7667
BGD00084 | 307075 |  | Bangladesh | Groundwater station | Tube Well 75 - Uttar Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 815 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3019 | 90.8322
BGD00085 | 307076 |  | Bangladesh | Groundwater station | Tube Well 76 - Uttar Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3008 | 90.8381
BGD00049 | 307040 |  | Bangladesh | Groundwater station | Tube Well 40 - Uttar Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 805 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3172 | 90.7803
BGD00082 | 307073 |  | Bangladesh | Groundwater station | Tube Well 73 - Purba Barkul | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 816 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2131 | 90.8569
BGD00050 | 307041 |  | Bangladesh | Groundwater station | Tube Well 41 - Dakshin Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 820 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2611 | 90.8017
BGD00083 | 307074 |  | Bangladesh | Groundwater station | Tube Well 74 - Paschim Barkul | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 790 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2453 | 90.8572
BGD00088 | 307079 |  | Bangladesh | Groundwater station | Tube Well 79 - Uttar Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 805 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3222 | 90.8253
BGD00089 | 307080 |  | Bangladesh | Groundwater station | Tube Well 80 - Uttar Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3156 | 90.8186
BGD00086 | 307077 |  | Bangladesh | Groundwater station | Tube Well 77 - Uttar Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 810 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3103 | 90.8358
BGD00010 | 307001 |  | Bangladesh | Groundwater station | Tube Well 1 - Paurashava | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 700 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2542 | 90.8469
BGD00087 | 307078 |  | Bangladesh | Groundwater station | Tube Well 78 - Uttar Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3083 | 90.8275
BGD00054 | 307045 |  | Bangladesh | Groundwater station | Tube Well 45 - Dakshin Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 808 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2136 | 90.8419
BGD00011 | 307002 |  | Bangladesh | Groundwater station | Tube Well 2 - Paurashava | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 650 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2558 | 90.8656
BGD00055 | 307046 |  | Bangladesh | Groundwater station | Tube Well 46 - Dakshin Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Deoth - 720 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2886 | 90.8197
BGD00052 | 307043 |  | Bangladesh | Groundwater station | Tube Well 43 - Dakshin Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 770 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2722 | 90.8006
BGD00053 | 307044 |  | Bangladesh | Groundwater station | Tube Well 44 - Dakshin Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 704 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2967 | 90.8358
BGD00058 | 307049 |  | Bangladesh | Groundwater station | Tube Well 49 - Dakshin Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 769 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2889 | 90.8086
BGD00014 | 307005 |  | Bangladesh | Groundwater station | Tube Well 5 - Paurashava | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 750 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2561 | 90.8325
BGD00091 | 307082 |  | Bangladesh | Groundwater station | Tube Well 82 - Uttar Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 775 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3131 | 90.7797
BGD00059 | 307050 |  | Bangladesh | Groundwater station | Tube Well 50 - Purba Barkul | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2356 | 90.8706
BGD00015 | 307006 |  | Bangladesh | Groundwater station | Tube Well 6 - Paurashava | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 680 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.255 | 90.8269
BGD00092 | 307083 |  | Bangladesh | Groundwater station | Tube Well 83 - Uttar Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 795 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3156 | 90.7578
BGD00012 | 307003 |  | Bangladesh | Groundwater station | Tube Well 3 - Paurashava | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2539 | 90.8761
BGD00056 | 307047 |  | Bangladesh | Groundwater station | Tube Well 47 - Dakshin Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 810 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2939 | 90.815
BGD00013 | 307004 |  | Bangladesh | Groundwater station | Tube Well 4 - Paurashava | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 750 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2431 | 90.885
BGD00057 | 307048 |  | Bangladesh | Groundwater station | Tube Well 48 - Dakshin Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 775 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3006 | 90.8064
BGD00051 | 307042 |  | Bangladesh | Groundwater station | Tube Well 42 - Dakshin Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 656 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2739 | 90.81
BGD00095 | 307086 |  | Bangladesh | Groundwater station | Tube Well 86 - Uttar Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 807 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3197 | 90.7686
BGD00018 | 307009 |  | Bangladesh | Groundwater station | Tube Well 9 - Hajiganj | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 850 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.245 | 90.8019
BGD00019 | 307010 |  | Bangladesh | Groundwater station | Tube Well 10 - Hajiganj | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 775 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2178 | 90.7953
BGD00060 | 307051 |  | Bangladesh | Groundwater station | Tube Well 51 - Purba Barkul | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 720 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2278 | 90.8639
BGD00016 | 307007 |  | Bangladesh | Groundwater station | Tube Well 7 - Hajiganj | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 820 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2489 | 90.8061
BGD00093 | 307084 |  | Bangladesh | Groundwater station | Tube Well 84 - Uttar Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 804 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3019 | 90.7528
BGD00017 | 307008 |  | Bangladesh | Groundwater station | Tube Well 8 - Dakshin Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2528 | 90.7953
BGD00094 | 307085 |  | Bangladesh | Groundwater station | Tube Well 85 - Uttar Rajargaon | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 750 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.3256 | 90.7758
BGD00020 | 307011 |  | Bangladesh | Groundwater station | Tube Well 11 - Hajiganj | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 793 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2564 | 90.8014
BGD00006 | 136006 |  | Bangladesh | River station | Karnaphuli River | Near K.P.M. complex Chondraghona Chittagong |  | KARNAPHULI | 70000 | 15 | TREND | 1979-07-01 | Department of Environment | 22.4167 | 92.0075 | 154 | 4275
BGD00005 | 136005 |  | Bangladesh | River station | Surma River | Near pulp and paper mills Chattak Sylhet, 400 m upstream of Chattak Mill |  | GANGES-BRAHMAPUTRA-MEGHNA | 2136.8 | 10 | IMPACT | 1979-07-01 | Department of Environment | 24.7583 | 90.4167 | 246.8 | 2339
BGD00021 | 307012 |  | Bangladesh | Groundwater station | Tube Well 12 - Hajiganj | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2642 | 90.845
BGD00001 | 136001 |  | Bangladesh | Reservoir station | Lake Kaptai (Reservoir) - Karnaphuli River | At outlet downstream of dam |  | KARNAPHULI |  |  | IMPACT | 1979-03-22 | Department of Environment | 22.4917 | 92.2336 |  |  |  | 800 |  | 1
BGD00007 | 136007 |  | Bangladesh | Groundwater station | Tube Well - Khalishpur Khulna | Tube Well water from Khalishpur Khulna |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 1979-07-01 | Department of Environment | 22.7583 | 89.5 | [6 empty] | 100 | 26 | 36.6 | 7335.4 | 91.4
BGD00022 | 307013 |  | Bangladesh | Groundwater station | Tube Well 13 - Hajiganj | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 790 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2642 | 90.8328
BGD00008 | 136008 |  | Bangladesh | Groundwater station | Tube Well - Muladi Barisal | Tube Well water from Muladi Barisal |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 1979-07-01 | Department of Environment | 22.8417 | 90.1694 | [6 empty] | 120 | 20 | 40 | 7500 | 100
BGD00009 | 136009 |  | Bangladesh | Groundwater station | Tube Well No. 6 - Wasa Tejgaon Dacca | Tube Well No. 6 of Wasa Tejgaon Dacca |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 1979-07-01 | Department of Environment | 23.8333 | 90.3333 | [6 empty] | 150 | 40 | 38 | 7500 | 95
BGD00025 | 307016 |  | Bangladesh | Groundwater station | Tube Well 16 - Hajiganj | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 765 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2647 | 90.8192
BGD00002 | 136002 |  | Bangladesh | River station | Lower Ganges River - at Padha | 750 m upstream Hardinge Bridge |  | GANGES-BRAHMAPUTRA-MEGHNA | 846900 |  | BASELINE | 1979-03-22 | Department of Environment | 24.0833 | 89.0333 | 980 | 50000
BGD00026 | 307017 |  | Bangladesh | Groundwater station | Tube Well 17 - Dakshin Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 770 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2831 | 90.8219
BGD00003 | 136003 |  | Bangladesh | River station | Brahmaputra River | Near Bahadurabad Ferryghat |  | GANGES-BRAHMAPUTRA-MEGHNA | 536000 |  | IMPACT | 1979-11-23 | Department of Environment | 25.1833 | 89.6667 | 4500 | 19000
BGD00023 | 307014 |  | Bangladesh | Groundwater station | Tube Well 14 - Hajiganj | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 792 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2706 | 90.8325
BGD00004 | 136004 |  | Bangladesh | River station | Meghna River | Near Ashugang fertilizer factory, 100 m upstream of the factory discharge point |  | GANGES-BRAHMAPUTRA-MEGHNA | 64750 | 7 | TREND | 1979-07-01 | Department of Environment | 24.0375 | 90.9917 | 850.4 | 14413
BGD00024 | 307015 |  | Bangladesh | Groundwater station | Tube Well 15 - Hajiganj | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 670 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2744 | 90.8225
BGD00070 | 307061 |  | Bangladesh | Groundwater station | Tube Well 61 - Dakshin Gandharbapur | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.1756 | 90.8822
BGD00068 | 307059 |  | Bangladesh | Groundwater station | Tube Well 59 - Dakshin Gandharbapur | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 810 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.1856 | 90.87
BGD00069 | 307060 |  | Bangladesh | Groundwater station | Tube Well 60 - Dakshin Gandharbapur | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.1894 | 90.8747
BGD00029 | 307020 |  | Bangladesh | Groundwater station | Tube Well 20 - Hajiganj | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 780 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2642 | 90.8569
BGD00062 | 307053 |  | Bangladesh | Groundwater station | Tube Well 53 - Purba Barkul | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 840 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2322 | 90.8722
BGD00030 | 307021 |  | Bangladesh | Groundwater station | Tube Well 21 - Hajiganj | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 777 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2739 | 90.8503
BGD00063 | 307054 |  | Bangladesh | Groundwater station | Tube Well 54 - Purba Barkul | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 850 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2394 | 90.8628
BGD00027 | 307018 |  | Bangladesh | Groundwater station | Tube Well 18 - Dakshin Kalacho | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 770 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2864 | 90.8303
BGD00028 | 307019 |  | Bangladesh | Groundwater station | Tube Well 19 - Hajiganj | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2611 | 90.8489
BGD00061 | 307052 |  | Bangladesh | Groundwater station | Tube Well 52 - Paschim Barkul | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 781 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.2317 | 90.8583
BGD00066 | 307057 |  | Bangladesh | Groundwater station | Tube Well 57 - Dakshin Gandharbapur | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 787 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.1897 | 90.8547
BGD00067 | 307058 |  | Bangladesh | Groundwater station | Tube Well 58 - Dakshin Gandharbapur | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 790 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.1944 | 90.8631
BGD00064 | 307055 |  | Bangladesh | Groundwater station | Tube Well 55 - Paschim Barkul | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 650 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.24 | 90.8531
BGD00065 | 307056 |  | Bangladesh | Groundwater station | Tube Well 56 - Paschim Barkul | Hajiganj Upazila, Chandpur District, 2004 Baseline Survey, Depth - 800 ft |  | GANGES-BRAHMAPUTRA-MEGHNA |  |  | TREND | 2004-01-01 | Department of Public Health Engineering | 23.1886 | 90.8489

## Parameter_Metadata
Parameter Code | Parameter Name | Parameter Long Name | Parameter Group | EC Number | CAS Number | ChEBI Number | Parameter Description
BOD | Oxygen Demand | Biochemical Oxygen Demand | /Chemical/Oxygen Demand |  |  |  | A measure of oxygen consumption during decomposition of both organic and inorganic substances.
O2-Dis | Oxygen | Dissolved Oxygen | /Chemical/Inorganic/Dissolved Gas | 231-956-9 | 7782-44-7 | 15379 | Concentration of molecular oxygen dissolved in water.
pH | pH | pH | /Chemical/Inorganic/Bulk Property |  |  |  | The negative logarithm of the hydrogen ion concentration, a measure of acidity or alkalinity of water soluble substances.
TEMP | Temperature | Water Temperature | /Physical/Temperature |  |  |  | Ambient temperature of the water.

## Methods_Metadata
Parameter Code | Analysis Method Code | Unit | Parameter Long Name | Method Name | Method Type | Method Number | Method Source | Method Description
BOD | BOD-ATU | mg/l | Biochemical Oxygen Demand | 5-Day BOD Test with Allylthiourea | --- | SM 507 | APHA 1976 | Dilute the sample, as needed before incubation, adding nutrients such as nitrogen, phosphorus and trace metals. Buffer the solution to ensure that the sample remains in a pH range suitable for bacterial growth (usually pH 6.5 to 7.5). Incubate at 20°C for five days. Results are reported as carbonaceous biochemical oxygen demand (CBOD5) when inhibiting the nitrogenous oxygen demand. When nitrification is not inhibited, results are reported as BOD5.
BOD | BOD-ISE | mg/l | Biochemical Oxygen Demand | 5-Day BOD Test using Membrane Electrode | Electrochemical Analysis | 5210 B;4500-O G | APHA 2012 | BOD is a measure of the oxygen demand produce by carbonaceous and nitrogenous materials in a sample. It is measured by determining the decrease of oxygen content, using a dissolved oxygen meter, after incubation at 20°C for five days.~r~n A sample is preserved in the field at 4°C and the analysis started within four hours. The sample aliquot is incubated, at 20°C for five days under proper conditions. The procedure depends on the nature of the sample. After aeration of the samples to bring the dissolved oxygen content to saturation, one of the following three variations can be used, depending on the type of samples to be analysed:~r~n 1 - The direct method: If the BOD does not exceed 7 mg/L, then the BOD is determined directly by measuring the dissolved oxygen content of the water, before and after a five days incubation period at 20°C.~r~n 2 - Unseeded dilution method: For waters having BOD values greater than 7 mg/L: appropriate sample aliquots are diluted using dilution water, saturated with oxygen, and the oxygen content is determined before and after the incubation period. A minimum of three dilutions per sample, with a final content between 40% and 70% of the original oxygen concentration, will give best results.~r~n 3 - Seeded dilution method: It is extremely important that the conditions be appropriate for the living organisms to function unhindered during the incubation period. Toxic substances should be absent, and necessary nutrients, such as nitrogen and phosphorus, should be present. It is important that a mixed group of organisms (called "seed") should be present during the test. The dilution water is seeded with the proper kind and number of organisms and saturated with oxygen (overnight) before the BOD test.~r~n Siphon the diluted sample to fill three BOD bottles; one for incubation (five days), one for the determination of the dissolved oxygen content (measured and record as "initial DO") and the other for the determination of the immediate dissolved oxygen demand (IDOD), after a 15 minutes incubation period. A minimum of three dilutions per sample, with a final content between 40% and 70% of the original oxygen concentration, will give best results.~r~n Use a calibrated oxygen meter to measure the oxygen concentrations before and after incubation.~r~n Interference: Many synthetic organic components from industrial wastewaters are not biodegradable without adding seeding water due to the toxic effect or the absence or deficiency of appropriate microorganisms. Sample containing residual Cl2, that is acidic or alkaline, must be neutralized to pH=7, and sometimes titrated with a Na2S2O3 solution to liberate the chloride from solution. A sample, containing sulphide, sulphite and/or ferrous ions, creates an immediate demand, corrected by the IDOD.~r~n The method detection limit is 1 mg/L.
BOD | BOD-RESP | mg/l | Biochemical Oxygen Demand | Respirometric Method | Volumetry | 5210 D | APHA 2012 | Respirometric methods provide direct measurement of the oxygen consumed by microorganisms from an air or oxygen-enriched environment in a closed vessel under conditions of constant temperature and agitation.~r~n~r~nIf sample contains large settleable or floatable solids, homogenize it with a blender and transfer representative test portions while all solids are in suspension. If there is a concern for changing sample characteristics, skip this~r~nstep.~r~n~r~nNeutralize samples to pH 7.0 with H2SO4 or NaOH of such strength that reagent quantity does not dilute the sample more than 0.5%.~r~n~r~nIf samples contain dissolved oxygen concentrations above or below the desired concentration, agitate or aerate with clean and filtered compressed air for about 1h immediately before testing. Minimum and maximum actual DO concentrations will vary with test objectives. In some cases pure oxygen may be added to respirometer vessels to increase oxygen levels above ambient.~r~n~r~nBring samples and dilution water to desired test temperature (+/- 1°C) before making dilutions or transferring to test vessels.~r~n~r~nSee 5210B.4d for seed preparation. Use sufficient amounts of seed culture to prevent major lags in the oxygen uptake reaction but not so much that the oxygen uptake of the seed exceeds about 10% of the oxygen uptake of the seeded sample. Determine the oxygen uptake of the seeding material as for any other sample. This is the seed control. Typically, the seed volume in the seed control should be 10 times the volume used in seeded samples.~r~n~r~nIncubate samples at 20°C or other suitable temperature +/- 1.0°C. Take care that the stirring device does not increase the temperature of the sample.
BOD | BOD-T-COL-AZD | mg/l | Biochemical Oxygen Demand | 5-Day BOD Test using Acide Modification | Titration | 5210 B;4500-O C | APHA 2012 | Biochemical Oxygen Demand is defined as the quantity of oxygen necessary for biological and chemical oxidation of water-borne substances under conditions of the test. A sample is preserved in the field at 4°C and the analysis started within 4 hours. A sample is incubated at 20°C under proper conditions. Comparison of the dissolved oxygen content at the beginning and the end of the incubation period is the measure of the Biochemical Oxygen Demand. The procedure depends on the nature of the sample. After aeration of the samples to bring the dissolved oxygen content to saturation, one of the following three variations can be used, depending on the type of samples to be analysed:~r~n A - The direct method: If the BOD does not exceed 7 mg/L, the BOD is determined directly by measuring the dissolved content of the water sample before and after a five days incubation period at 20°C.~r~n B - Unseeded dilution method: With waters having BOD values greater than 7 mg/L, appropriate sample aliquots are diluted using dilution water, saturated with oxygen, and the oxygen content is determined before and after the incubation period. A minimum of three dilutions per sample, with a final content between 40% and 70% of the original oxygen concentration, will give best results.~r~n C - Seeded dilution method: It is extremely important that the conditions be appropriate for the living organisms to function unhindered during the incubation period. Toxic substances should be absent, and necessary nutrients, such as nitrogen and phosphorus, should be present. It is important that a mixed group of organisms (called "seed") be present during the test. The dilution water is seeded with the proper kind and number of organisms and saturated with oxygen (overnight) before the BOD test.~r~n Siphon the diluted sample to fill three BOD bottles; one for incubation (five days), one for the determination of the dissolved oxygen content (measured and record as "initial DO"), and the other for the determination of the immediate dissolved oxygen demand (IDOD), after a 15 minutes incubation period (to eliminate the oxygen demand from sulphide, sulphite and/or ferrous ions). A minimum of three dilutions per sample, with a final content between 40% and 70% of the original oxygen concentration, will give best results.~r~n DO Winkler method:~r~n A sample is treated with manganous sulphate (MnSO4) and a strong alkaline iodide reagent (NaN3, NaI and NaOH). The manganous hydroxide reacts with the dissolved oxygen to form a brown precipitate (MnO(OH)2. Let stand for one hour. Upon acidification, with concentrated H2SO4, in the presence of iodide, the iodine liberated is equivalent to the dissolved oxygen originally present in the sample. The iodide is titrated with a standardized sodium thiosulphate (Na2S2O3), using starch as an indicator.~r~n Interference: Many synthetic organic components from industrial wastewaters are not biodegradable without adding seeding water. Sample containing residual Cl2, that is acidic or alkaline, must be neutralized to pH=7 and titrated with Na2S2O3 solution. The IDOD is determined to eliminate the oxygen demand of sulphide, sulphite and/or ferrous ions.~r~n The method detection limit is 0.01 mg/L.~r~n NOTE: India uses 27° and 3 days because of geoclimatic conditions.
O2-Dis | O2-CALC-Con | mg/l | Dissolved Oxygen | Concentration calculated from Oxygen Saturation | Calculation |  |  | Calculated from % Oxygen Saturation, H2O temperature, and pressure at site.
O2-Dis | O2-D888-C | mg/l | Dissolved Oxygen | Dissolved Oxygen in Water - Instrumental Probe Procedure - Luminescence-Based Sensor | Spectroscopy | D888 C | ASTM 2012
O2-Dis | O2-ISE | mg/l | Dissolved Oxygen | Membrane Electrode Method | Electrochemical Analysis | SM 4500-O G | APHA 2012 | Measurements are made in the field using a calibrated dissolved oxygen meter. The electronic cell, containing a gold cathode and a silver anode, is covered with an Oxygen permeable membrane to prevent interferences. Upon entering the cell, the Oxygen is reduced and the current is directly proportional to the oxygen concentration at a specific temperature. The DO ranges are usually automatically temperature corrected (between -50C and + 40°C), as are the solubility and permeability of the probe, while salinity usually needs manual compensation. Regular calibration against the Winkler Titration Method is recommended or by exactly following the manufacturer's procedure. (DO meter is calibrated in air saturated with moisture and the reading is taken when steady condition is obtained).
O2-Dis | O2-T-COL-MILLER | mg/l | Dissolved Oxygen | Miller Modification Method | Titration | JIS K 0102 32.2 | JSA 1998 | Seclude Samples from air by means of liquid paraffin, add potassium sodium tartrate-sodium hydroxide solution and 3,7-bis(dimethylamino)-phenothiazin-5-ium chloride (methylene blue), titrate it with ammonium iron (II) sulfate solution to determine dissolved oxygen.
O2-Dis | T-COL-I-AZD | mg/l | Dissolved Oxygen | Iodometric Method with Azide Modification | Titration | SM 4500-O C | APHA 2012 | A sample is collected and analysed in the field or preserved at 4°C and analysed as soon as possible. A sample aliquot is treated with manganous sulphate (MnSO4) and a strong alkaline iodide reagent (NaN3, NaI and NaOH). The manganous hydroxide formed reacts with the dissolved oxygen to form a brown precipitate (MnO(OH)2 (a KF solution is added if ferrous ions are present). Upon acidification, in the presence of iodide, the iodine liberated is equivalent to the dissolved oxygen originally present in the sample. The iodide is titrated with a standardized sodium thiosulphate solution (Na2S2O3), starch is used as an indicator.~r~n Interferences: ferrous ion at 1 mg/L (if KF is added the interference level for ferrous ion is 100-200 mg/L), SO3 ion, S2O3 ion, polythionate ions, free Cl2, OCl ion, oxidizing and reducing agents, and turbidity.
pH | pH-COL | --- | pH | Colourimetric Method | Colorimetry | VI-1 9.3 | JWWA 2001 | The pH is measured adding an universal indicator (phenolphthalein/methyl red/thymol blue) or using a pH "non bleeding" strip, wait for colour development and compare the colour of the reaction to the coloured chart of the appropriate indicator used. Interference: colour, turbidity, salinity, colloidal matter and various oxidants and reductants can interfere with the indicator.
pH | pH-POT | --- | pH | Electrometric Method | Electrochemical Analysis | SM 4500-H+ B | APHA 2012 | The pH meter, with a glass combination electrode and automatic temperature compensation probe, is calibrated with buffers at pH 4.7 and 10 at 25°C. The pH and temperature values of the sample aliquot are recorded upon reading. The precision is within 0.1 pH units.
pH | pH-POT-insitu | --- | pH | Electrometric Method (in situ) | Electrochemical Analysis | SM 4500-H+ B | APHA 2012 | ph Meter, (field measurement)
pH | pH-POT-25 | --- | pH | Electrometric Method (25°C) | Electrochemical Analysis | ISO 10527 | ISO 1996 | The temperature of a sample is stabilised at 25°C. A calibrated glass electrode in combination with a reference potential, provided by a saturated calomel (Hg2Cl2) electrode, is used for pH determination. The sample aliquot is read at 25°C.~r~n~r~nThe precision is within 0.1 pH units.
TEMP | TEMP-BTG | °C | Water Temperature | Electronic Bathythermograph | --- | STAR 104 | Environment Canada 2007 | The electronic bathythermograph provides a direct instantaneous readout and graphical record of temperatures versus depth.
TEMP | TEMP-CND | °C | Water Temperature | Conductivity-Temperature Meter | --- | ENV 42 | Environment Canada 2007 | Water temperature is measured with a battery-operated conductivity-temperature meter calibrated by switching to an internal standard. The accuracy is ±0.5 °C.
TEMP | TEMP-DIG | °C | Water Temperature | Digital Thermometer | --- | SM 2550 B | APHA 1998 | Ambient temperature is measured with a calibrated digital thermometer in the shade, free from the influences of direct or reflected solar radiation. To reduce the error due to evaporative cooling, a dry thermometer should be used. Water temperature is measured by immersing a calibrated digital thermometer into the water sample immediately after collection.~r~n Method precision is ±0.1 °C.
TEMP | TEMP-Hg | °C | Water Temperature | Mercury Thermometer | --- | SM 2550 B | APHA 1998 | Both atmospheric and water temperature are measured upon sample collection.~r~n The atmospheric temperature is measured in a well-ventilated area and in the shade, at 1.2 to 1.5 m above the ground, using a 50°C calibrated (liquid in glass) thermometer.~r~n The water temperature is measured by immersing a calibrated thermometer into the water or by measuring the temperature immediately after collection using a calibrated thermometer.~r~n The Hg-filled thermometer has a precision of ± 0.1°C.
TEMP | TEMP-NCIR | °C | Water Temperature | Infrared (non-contact) | --- | MCode-THM03 | USGS 1998 | Air temperature, in addition to water temperature, should be measured and recorded whenever water-quality samples are collected. Water temperature must always be measured in situ and in a manner that ensures that the measurement accurately represents the intended sample conditions. Before measuring air or water temperature, inspect the liquid-in-glass thermometer to be certain that the liquid column has not separated. Inspect the glass bulb to be sure it is clean. Inspect the protective case to be sure it is free of sand and debris. Check that batteries are fully charged for thermistor thermometers or temperature sensors incorporated into other field meters.
TEMP | TEMP-ORT | °C | Water Temperature | Oceanographic Reversing Thermometer | --- | STAR 100 | Environment Canada 2007
TEMP | TEMP-pH | °C | Water Temperature | pH meter (in situ) | --- |  |  | Potentiometric or Electrochemical field measurement.
TEMP | TEMP-THERMISTOR | °C | Water Temperature | Thermistor | --- | EPA 170.1 | US-EPA 1974 | Water Temperature is measured with a battery-operated YSI thermistor (or equivalent) calibrated against a certified thermometer. Resolution is 0.1°C and accuracy is ±0.2 °C.~r~n The method range is -10 °C to +90 °C.